## Slide 1
Valley Water PPT Template Version Release v.2.02

## Slide 2
Guadalupe River – Tasman Dr. to I880
Presented by: Katie Muller, Project Manager

## Slide 3
Agenda
Project Background
Recently Discovered Problem
Interim & Permanent Solutions
Next steps
Guided Table Discussions
Guadalupe River Project – Tasman Dr. to I880

## Slide 4
Guadalupe River Background

## Slide 5
Guadalupe Watershed
Upper Watershed Reservoirs
Tributaries
Upper Guadalupe River
Downtown Guadalupe River
Lower Guadalupe River
`

## Slide 6
Lower Guadalupe River Project
Completed 2004
100-Year flood protection
Levees and Floodwalls
Bridge Improvements

## Slide 7
What is 100-Year?
1% probability of occurrence in a given year
1 in 100 chance
26% chance over life of 30-year mortgage
Why 100-Year?
FEMA National Flood Insurance Program Maps
Note: Does not eliminate all flood risk!

## Slide 8
Recently Discovered Problem

## Slide 9
Base Flow
Maintenance & Monitoring
Annual maintenance
High-water mark collection
Hydraulic model calibration
25-year – 10,800cfs
100-year – 18,300cfs

## Slide 10
Causes
High vegetation growth
Permit Restrictions
Mitigation Planting

## Slide 11
Cross-Section Location
Tasman Dr
Montague Expressway
Current Condition
Design Condition

## Slide 12
Cross-Section Location
Montague Expressway
Trimble Road
Current Condition
Design Condition

## Slide 13
Cross-Section Location
Current Condition
Design Condition

## Slide 14
Interim Solutions

## Slide 15
Sediment removed from side channels to return to design condition
Sediment Removal
Operate Reservoir for Flood Risk Reduction
Lexington Operations
Valley Water Field Information Teams (FIT), City Coordination, and Emergency Action Plans
Storm Preparedness
Vegetation Removal
Trees cleared from levees and 15 feet from levee toe
Preparations for This Winter

## Slide 16
Valley Water Flood Watch
valleywater.org/floodready
Monitor stream gage levels
Sandbag distribution sites
Flood safety advice

## Slide 17
Permanent Solutions

## Slide 18
Conceptual Alternatives
Inboard Floodwalls – up to 6 feet

## Slide 19
Conceptual Alternatives
Outboard Floodwalls – up to 6 feet

## Slide 20
Conceptual Alternatives
Replace Levee with Floodwall

## Slide 21
Conceptual Alternatives
Raise Levees– up to 6 feet

## Slide 22
Conceptual Alternatives
Widen River Channel/Setback Levee

## Slide 23
Conceptual Alternatives
Bypass Channels

## Slide 24
Conceptual Alternatives
Off-Stream Detention

## Slide 25
Conceptual Alternatives
Raise or Re-Operate Dams

## Slide 26
Planning Study Timeline
Start
Gather Information
Define Problem
Refine Objectives
Problem Definition
Identify Design Options
Initial Cost Estimate
Project Objectives
Conceptual Alternatives
March – May 2019
June – September 2019

## Slide 27
Best meets Project Objectives
Staff-Recommended Alternative
Proceed to Design Phase
Board of Directors Approval
Refine Design
Refine Cost Estimate
NFP Analysis
Feasible Alternatives
Start CEQA and other permits
October 2019 – March 2020
April – June 2020
June 2020

## Slide 28
Construction Phase
30%, 60%, 90%, Final Design
Design Phase
End
All environmental permits approved
Summer 2020 – Spring 2022
Spring 2022-Spring 2024

## Slide 29
Public Meeting #2
Staff will present feasible alternatives
Guadalupe River Planning Project
Next Steps:
Project team will gather all the information from this meeting and use it to guide the alternatives analysis
Public Meeting #3
Staff will present recommended alternative
Planning Study Report and Board Approval

## Slide 30
QUESTIONS

## Slide 31
Social
media
@valleywater
@valleywater
@valleywater
Subscribe and Follow

## Slide 33
Hydrology
Two 72-hr storms
Guadalupe sub-watershed produces higher flows
Current Condition: higher flows from Lexington sub-watershed
How we estimate 100-year design flows
8,000 cfs

## Slide 34
Design Criteria
100-Year Design Flows
Location | USACE/LGRP Flows | 2009 USACE Update | Current Condition
D/S of Los Gatos Creek | 16000 | 17970 | -
Highway 101 | 17000 | 18600 | 16000
Montague Expressway | 17864 | - | 16102
Highway 237 | 18325 | 19020 | -
Comply with freeboard requirements
Comply with FEMA certification requirements
Operate and manage Lower Guadalupe “in such a way to convey design flood flows”

## Slide 35
https://www.fema.gov/national-flood-hazard-layer-nfhl
FEMA National Flood Hazard Layer (NFHL)